## свод
Information on the activity of the branch of IDGC of Centre, JSC - "Tambovenergo" on technological connection for May 2010
Branch of IDGC of Centre, JSC | Number of applications |  | Contracts concluded |  | Contracts performed (signed Acts on TC) |  | Cancelled applications
| applications | MW | contracts | MW | contracts | MW | applications | MW
Tambovenergo | 120 | 10.271 | 95 | 3.5904 | 69 | 0.821 | 15 | 0.478
Total | 120 | 10.271 | 95 | 3.5904 | 69 | 0.821 | 15 | 0.478

## реестр заявок
Item-by-item information on applications for TC for May 2010
Branch | No. | Number of application | Date of application dd/mm/yyyy | Capacity, kW | Item connection point (SS)
| 1 | 2 | 3 | 4 | 5
Tambovenergo | 1 | 15051927 | 2010-05-04 | 5 | SS 35/10kv "Timiryazevskaya"
Tambovenergo | 2 | 15051926 | 2010-05-04 | 8 | SS 110/6 kv "Tambovskaya No. 8"
Tambovenergo | 3 | 15051991 | 2010-05-04 | 5 | SS 110/6 kv "Tambovskaya No. 8"
Tambovenergo | 4 | 15052137 | 2010-05-04 | 5 | SS 110/6 kv "Tambovskaya No. 5"
Tambovenergo | 5 | 15052159 | 2010-05-05 | 5 | SS 110/6 kv "Tambovskaya No. 5"
Tambovenergo | 6 | 15052326 | 2010-05-05 | 2 | SS 35/10 kv «P. Prigorodnaya"
Tambovenergo | 7 | 15052316 | 2010-05-05 | 8 | SS 110/35/10 kv "Promyshlennaya"
Tambovenergo | 8 | 15052321 | 2010-05-05 | 15 | SS 110/6 "Tambovskaya No. 8"
Tambovenergo | 9 | 15052486 | 2010-05-05 | 5 | SS 110/6 kv "Tambovskaya No. 8"
Tambovenergo | 10 | 15052523 | 2010-05-05 | 5 | SS 110/35/10 kv "Promyshlennaya"
Tambovenergo | 11 | 15052612 | 2010-05-06 | 40 | SS 110/35/10 kv "Tambovskaya No. 6"
Tambovenergo | 12 | 15052706 | 2010-05-06 | 5 | SS 110/35/10 kv "Promyshlennaya"
Tambovenergo | 13 | 15052739 | 2010-05-06 | 5 | SS 110/6 kv "Tambovskaya No. 8"
Tambovenergo | 14 | 15052798 | 2010-05-06 | 5 | SS 110/35/10 kv "Komsomolskaya"
Tambovenergo | 15 | 15052697 | 2010-05-06 | 10 | SS 110/35/10 kv "Komsomolskaya"
Tambovenergo | 16 | 15052849 | 2010-05-06 | 5 | SS 110/35/6 "Rasskazovskaya"
Tambovenergo | 17 | 15052953 | 2010-05-06 | 5 | SS 35/10 kv "P. Prigorodnaya"
Tambovenergo | 18 | 15053259 | 2010-05-07 | 5 | SS 110/6 "Tambovskaya No. 8"
Tambovenergo | 19 | 15053324 | 2010-05-07 | 15 | SS 110/6 kv "Tambovskaya No. 5"
Tambovenergo | 20 | 15053348 | 2010-05-07 | 5 | SS 110/35/10 kv "Komsomolskaya"
Tambovenergo | 21 | 15053519 | 2010-05-11 | 15 | SS 35/10 kv "Tulinovskaya"
Tambovenergo | 22 | 15053570 | 2010-05-11 | 15 | SS 110/10 "M. Talinskaya"
Tambovenergo | 23 | 15053606 | 2010-05-11 | 5 | SS 110/10 kv "M. Talinskaya"
Tambovenergo | 24 | 15053646 | 2010-05-11 | 5 | SS 110/6 kv "Tambovskaya No. 8"
Tambovenergo | 25 | 15053686 | 2010-05-11 | 5 | SS 35/10 kv "Seleznyovskaya"
Tambovenergo | 26 | 15053741 | 2010-05-11 | 15 | SS 110/6 kv "Tambovskaya No. 8"
Tambovenergo | 27 | 15053690 | 2010-05-11 | 15 | SS 110/10 kv "N. Lyadinskaya"
Tambovenergo | 28 | 15053851 | 2010-05-12 | 5 | SS 110/35/10 kv "Tambovskaya No. 6"
Tambovenergo | 29 | 15054104 | 2010-05-12 | 15 | SS 110/35/10 kv "N. Lyadinskaya"
Tambovenergo | 30 | 15054215 | 2010-05-12 | 15 | SS 35/10 "P. Prigorodnaya"
Tambovenergo | 31 | 15054513 | 2010-05-13 | 10 | SS 110/35/10 "Promyshlennaya"
Tambovenergo | 32 | 15054862 | 2010-05-14 | 10 | SS 35/10 kv "Picherskaya"
Tambovenergo | 33 | 15056387 | 2010-05-19 | 15 | SS 110/35/10 "Tambovskaya No. 6"
Tambovenergo | 34 | 15057032 | 2010-05-20 | 10 | SS 110/6 "Tambovskaya No. 8"
Tambovenergo | 35 | 15056668 | 2010-05-19 | 15 | SS 110/10 kv "N. Lyadinskaya"
Tambovenergo | 36 | 15056677 | 2010-05-19 | 15 | SS 110/10 kv "N. Lyadinskaya"
Tambovenergo | 37 | 15056616 | 2010-05-19 | 5 | SS 110/6 "Tambovskaya No. 5"
Tambovenergo | 38 | 15056074 | 2010-05-18 | 177 | SS 110/35/10 kv "Promyshlennaya"
Tambovenergo | 39 | 15055868 | 2010-05-18 | 5 | SS 110/35/10 kv "Promyshlennaya"
Tambovenergo | 40 | 15058269 | 2010-05-24 | 15 | SS 35/10 kv P. Prigorodnaya
Tambovenergo | 41 | 15058344 | 2010-05-24 | 15 | SS 110/6 kv "Tambovskaya No. 8"
Tambovenergo | 42 | 15058654 | 2010-05-25 | 15 | SS 35/10 kv "Tatanovskaya"
Tambovenergo | 43 | 15058686 | 2010-05-25 | 5 | SS 110/6 kv "Tambovskasya No. 8"
Tambovenergo | 44 | 15058734 | 2010-05-25 | 15 | SS 35/10 kv "Tulinovskaya"
Tambovenergo | 45 | 15058811 | 2010-05-25 | 15 | SS 35/10 kv "Tulinovskaya"
Tambovenergo | 46 | 15058885 | 2010-05-25 | 15 | SS 110/35/6 kv "Rasskazovskaya"
Tambovenergo | 47 | 15059369 | 2010-05-26 | 5 | SS 110/6 kv "Tambovskaya No. 8"
Tambovenergo | 48 | 15059059 | 2010-05-26 | 15 | SS 110/35/10 kv "Timiryazevskaya"
Tambovenergo | 49 | 15059438 | 2010-05-26 | 5 | SS 110/35/10 kv "Promyshlennaya"
Tambovenergo | 50 | 15060332 | 2010-05-28 | 10 | SS 110/35/10 kv "Tambovskaya No. 6"
Tambovenergo | 51 | 15060265 | 2010-05-28 | 8 | SS 110/6 "Tambovskaya No. 8"
Tambovenergo | 52 | 15052060 | 2010-05-04 | 5 | SS 35/10 kv "Picherskaya"
Tambovenergo | 53 | 15052450 | 2010-05-05 | 15 | SS 35/10 kv "Tatanovskaya"
Tambovenergo | 54 | 15052747 | 2010-05-06 | 15 | SS 35/10 kv "P. Prigorodnaya"
Tambovenergo | 55 | 15052891 | 2010-05-06 | 3 | SS 35/10 kv "P. Prigorodnaya"
Tambovenergo | 56 | 15053288 | 2010-05-07 | 92 | SS 35/10 kv "Tulinovskaya"
Tambovenergo | 57 | 15054126 | 2010-05-12 | 3 | SS 35/10 kv "Chernyanskaya"
Tambovenergo | 58 | 15056326 | 2010-05-19 | 92 | SS 35/10 "Tulinovskaya"
Tambovenergo | 59 | 15056331 | 2010-05-19 | 85 | SS 110/35/10kv Tambovskaya No. 6
Tambovenergo | 60 | 15057645 | 2010-05-21 | 2.5 | SS 110/35/6 kv "Rasskazovskaya"
Tambovenergo | 61 | 15057682 | 2010-05-21 | 8 | SS 110/35/10 kv "Komsomolskaya"
Tambovenergo | 62 | 15058207 | 2010-05-24 | 160 | SS 110/6 kv "Tambovskaya No.8"
Tambovenergo | 63 | 15058614 | 2010-05-25 | 7400 | SS 110/6 kv "Tambovskaya No.8"
Tambovenergo | 64 | 15059109 | 2010-05-26 | 650 | SS 110/35/10 kv "Promyshlennaya"
Tambovenergo | 65 | 15060701 | 2010-05-31 | 125 | SS 35/10 kv "P.Prigorodnaya"
Tambovenergo | 66 | 15051825 | 2010-05-01 | 15 | SS 35/10 Piterskaya
Tambovenergo | 67 | 15052222 | 2010-05-05 | 12 | SS 35/10 Morshanskaya
Tambovenergo | 68 | 15052834 | 2010-05-06 | 5 | SS 35/10 Morshanskaya
Tambovenergo | 69 | 15054301 | 2010-05-13 | 270 | SS 110/35/10 Grazhdanovskaya, SS 35/10 Kurovshchinskaya
Tambovenergo | 70 | 15054506 | 2010-05-13 | 7 | SS 35/10 Morshanskaya
Tambovenergo | 71 | 15057160 | 2010-05-20 | 10 | SS 35/10 Morshanskaya
Tambovenergo | 72 | 15058531 | 2010-05-21 | 5 | SS 35/10 Kulevatovskaya
Tambovenergo | 73 | 15058100 | 2010-05-24 | 15 | SS 35/10 Agropromovskaya
Tambovenergo | 74 | 15058122 | 2010-05-24 | 6 | SS 35/10 Kryukovskaya
Tambovenergo | 75 | 15059951 | 2010-05-27 | 10 | SS 35/10 Kyorshinskaya
Tambovenergo | 76 | 15059921 | 2010-05-27 | 5 | SS 35/10 Kyorshinskaya
Tambovenergo | 77 | 15051861 | 2010-05-04 | 5 | SS 11035/10 kv Staroyuryevskaya
Tambovenergo | 78 | 15051992 | 2010-05-04 | 6 | SS-35/10 kv Zhidilovskaya,
Tambovenergo | 79 | 15053521 | 2010-05-11 | 9 | SS-35/10 kv Tarbeevskaya
Tambovenergo | 80 | 15053554 | 2010-05-11 | 5 | SS-35/10 kv Petrovskaya
Tambovenergo | 81 | 15053598 | 2010-05-11 | 12 | SS-35/10 kv Tarbeevskaya
Tambovenergo | 82 | 15053643 | 2010-05-11 | 5 | SS-35/10 kv Tarbeevskaya
Tambovenergo | 83 | 15053723 | 2010-05-11 | 150 | SS-110/35/10 kv Staroyuryevskaya
Tambovenergo | 84 | 15054433 | 2010-05-13 | 25 | SS-110/35/10 kv, OTL-10 kv No. 5
Tambovenergo | 85 | 15054624 | 2010-05-13 | 10 | SS-35/10 kv Petrovskaya
Tambovenergo | 86 | 15054655 | 2010-05-13 | 5 | SS-110/27,5/6/10 kv Pervomayskaya
Tambovenergo | 87 | 15054708 | 2010-05-13 | 5 | SS-35/10 kv Prigorodnaya
Tambovenergo | 88 | 15055057 | 2010-05-14 | 70 | SS-35/10 kv Petrovskaya
Tambovenergo | 89 | 15055922 | 2010-05-18 | 25 | SS-35/10 kv Prigorodnaya
Tambovenergo | 90 | 15056217 | 2010-05-18 | 5 | SS-35/10 kv Petrovskaya
Tambovenergo | 91 | 15056354 | 2010-05-19 | 5 | SS-110/27,5/6/10 kv Pervomayskaya
Tambovenergo | 92 | 15056611 | 2010-05-19 | 12 | SS-35/10 kv Tarbeevskaya
Tambovenergo | 93 | 15056673 | 2010-05-19 | 10 | SS-35/10 kv Tarbeevskaya
Tambovenergo | 94 | 15057284 | 2010-05-20 | 8 | SS-35/10 kv Ustyinskaya
Tambovenergo | 95 | 15057858 | 2010-05-24 | 12 | SS-110/35/10 kv Staroyuryevskaya
Tambovenergo | 96 | 15057895 | 2010-05-24 | 9 | SS-110/35/10 kv Staroyuryevskaya
Tambovenergo | 97 | 15058518 | 2010-05-25 | 5 | SS-35/10 kv Vyrubovskaya
Tambovenergo | 98 | 15059045 | 2010-05-26 | 5 | SS-35/10 kv Sitovskaya
Tambovenergo | 99 | 15059453 | 2010-05-26 | 5 | SS-35/10 kv Prigorodnaya
Tambovenergo | 100 | 15059701 | 2010-05-27 | 8 | SS-35/10 kv Izosimovskaya
Tambovenergo | 101 | 15059743 | 2010-05-27 | 5 | SS-35/10 kv Izosimovskaya
Tambovenergo | 102 | 15051939 | 2010-05-04 | 5 | SS 110/35/10 kv Inzhavinskaya
Tambovenergo | 103 | 15051988 | 2010-05-04 | 15 | SS 110/35/10 kv Kirsanovskaya
Tambovenergo | 104 | 15054658 | 2010-05-13 | 5 | SS 110/35/10 kv Kirsanovskaya
Tambovenergo | 105 | 15056550 | 2010-05-19 | 5 | SS 110/35/10 kv Inzhavinskaya
Tambovenergo | 106 | 15057863 | 2010-05-24 | 5 | SS 110/35/10 kv Kirsanovskaya
Tambovenergo | 107 | 15059044 | 2010-05-26 | 10 | SS 35/10 kv Balykleyskaya
Tambovenergo | 108 | 15059090 | 2010-05-26 | 5.5 | SS 35/10 kv Umetskaya
Tambovenergo | 109 | 15059291 | 2010-05-26 | 10 | SS 35/10 kv Irskaya
Tambovenergo | 110 | 15060130 | 2010-05-28 | 10 | SS 110/35/10 kv Inzhavinskaya
Tambovenergo | 111 | 15060208 | 2010-05-28 | 10 | SS 110/35/10 kv Inzhavinskaya
Tambovenergo | 112 | 15052725 | 2010-05-06 | 10 | SS 110/35/10 "Zherdevskaya"
Тамбовэнерго | 113 | 15053965 | 2010-05-12 | 10 | SS 110/35/10 "Zherdevskaya"
Tambovenergo | 114 | 15054648 | 2010-05-13 | 15 | SS 35/10 "V.Vershinskaya"
Tambovenergo | 115 | 15055359 | 2010-05-13 | 5 | SS 110/35/10 "Rzhaksinskaya"
Tambovenergo | 116 | 15057598 | 2010-05-21 | 8 | SS 35/10 "Chernyaevskaya"
Tambovenergo | 117 | 15058058 | 2010-05-24 | 10 | SS 35/10 "Artemovskaya"
Tambovenergo | 118 | 15058163 | 2010-05-24 | 10 | SS 110/35/10 "Shpikulovskaya"
Tambovenergo | 119 | 15058751 | 2010-05-25 | 8 | SS 110/35/10 "Mordovskaya"
Tambovenergo | 120 | 15059289 | 2010-05-26 | 5 | SS 110/10 "Shpikulovskaya"

## реестр закл.договоров
Item-by-item information on concluded contracts for TC for May 2010
Branch | No. | Number of the contract concluded | Date of the contract dd/mm/yyyy | Term of liabilities fulfillment ХХ months | Maximum capacity, kW (including Existing in kW) | Amount under the contract in Rubles net of VAT | Item connection point (SS,OTL)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Branch of IDGC of Centre - "Tambovenergo" | 1 | 40118875 | 2010-05-07 | 6 | 5 | 466.1 | SS 110/35/10 kv "Komsomolskaya", OTL-10 kv No. 6
Branch of IDGC of Centre - "Tambovenergo" | 2 | 40122967 | 2010-05-06 | 6 | 15 | 466.1 | SS 35/10 kv "Tulinovskaya", OTL-10 kv No. 6
Branch of IDGC of Centre - "Tambovenergo" | 3 | 40119883 | 2010-05-14 | 6 | 15 | 466.1 | SS 110/6 kv "Tambovskaya No. 8", OTL-6 kv No. 22
Branch of IDGC of Centre - "Tambovenergo" | 4 | 40124166 | 2010-05-05 | 6 | 5 | 466.1 | SS 110/35/10 kv "Komsomolskaya", OTL-10 kv No. 9
Branch of IDGC of Centre - "Tambovenergo" | 5 | 40126780 | 2010-05-14 | 6 | 5 | 466.1 | SS 110/35/10 kv "Komsomolskaya", OTL-10 kv No. 9
Branch of IDGC of Centre - "Tambovenergo" | 6 | 40124708 | 2010-05-06 | 6 | 5 | 466.1 | SS 110/35/10 kv "Komsomolskaya", OTL-10 kv No. 6
Branch of IDGC of Centre - "Tambovenergo" | 7 | 40126773 | 2010-05-13 | 6 | 5 | 466.1 | SS 110/35/10 kv "Komsomolskaya", OTL-10 kv No. 9
Branch of IDGC of Centre - "Tambovenergo" | 8 | 40123262 | 2010-05-05 | 6 | 15 | 466.1 | SS 110/6 kv "Tambovskaya No. 8", OTL-6 kv No. 22
Branch of IDGC of Centre - "Tambovenergo" | 9 | 40123320 | 2010-05-05 | 6 | 5 | 466.1 | SS 110/35/10 kv "Promyshlennaya", OTL-10 kv No. 10
Branch of IDGC of Centre - "Tambovenergo" | 10 | 40123395 | 2010-05-14 | 6 | 10 | 466.1 | SS 110/35/10 kv "Komsomolskaya", OTL-10 kv No. 7
Branch of IDGC of Centre - "Tambovenergo" | 11 | 40123908 | 2010-05-14 | 6 | 5 | 466.1 | SS 110/35/10 kv "Promyshlennaya", OTL-10 kv No. 10
Branch of IDGC of Centre - "Tambovenergo" | 12 | 40123950 | 2010-05-06 | 6 | 6 | 466.1 | SS 110/35/10 kv "Promyshlennaya", OTL-10 kv No. 10
Branch of IDGC of Centre - "Tambovenergo" | 13 | 40124001 | 2010-05-06 | 6 | 5 | 466.1 | SS 110/35/10 kv "Komsomolskaya", OTL-10 kv No. 1
Branch of IDGC of Centre - "Tambovenergo" | 14 | 40124062 | 2010-05-06 | 6 | 15 | 466.1 | SS 110/35/10 kv "Promyshlennaya", OTL-10 kv No. 10
Branch of IDGC of Centre - "Tambovenergo" | 15 | 40124182 | 2010-05-17 | 6 | 5 | 466.1 | SS 110/35/10 kv "Tambovskaya No. 6", OTL-10 kv No. 17
Branch of IDGC of Centre - "Tambovenergo" | 16 | 40126563 | 2010-05-11 | 6 | 5 | 466.1 | SS 110/35/10 kv "Komsomolskaya", OTL-10 kv No. 1
Branch of IDGC of Centre - "Tambovenergo" | 17 | 40124769 | 2010-05-12 | 6 | 5 | 466.1 | SS 35/10 kv "Seleznevskaya", OTL-10 kv No. 12
Branch of IDGC of Centre - "Tambovenergo" | 18 | 40124765 | 2010-05-20 | 6 | 5 | 466.1 | SS 35/10 kv "Seleznevskaya", OTL-10 kv No. 3
Branch of IDGC of Centre - "Tambovenergo" | 19 | 40125604 | 2010-05-11 | 6 | 5 | 466.1 | SS 110/35/10 kv "Tambovskaya No. 6", OTL-10 kv No. 19
Branch of IDGC of Centre - "Tambovenergo" | 20 | 40130014 | 2010-05-18 | 6 | 8 | 466.1 | SS 110/6 kv "Tambovskaya No. 5", OTL-6 kv No. 3
Branch of IDGC of Centre - "Tambovenergo" | 21 | 40127301 | 2010-05-11 | 6 | 15 | 466.1 | SS 110/6 kv "Tambovskaya No.8", OTL-6 kv No. 22
Branch of IDGC of Centre - "Tambovenergo" | 22 | 40127470 | 2010-05-11 | 6 | 5 | 466.1 | SS 35/10 kv "Chernyanskaya", OTL-10 kv No. 3
Branch of IDGC of Centre - "Tambovenergo" | 23 | 40125685 | 2010-05-25 | 6 | 10 | 466.1 | SS 35/10 kv "Timiryazevskaya", OTL-10 kv No. 4
Branch of IDGC of Centre - "Tambovenergo" | 24 | 40128314 | 2010-05-18 | 6 | 5 | 466.1 | SS 110/6 kv "Tambovskaya No. 5", OTL-6 kv No. 3
Branch of IDGC of Centre - "Tambovenergo" | 25 | 40129184 | 2010-05-14 | 6 | 5 | 466.1 | SS 35/10 kv "Timiryazevskaya", OTL-10 kv No. 5
Branch of IDGC of Centre - "Tambovenergo" | 26 | 40129406 | 2010-05-17 | 6 | 8 | 466.1 | SS 110/6 kv "Tambovskaya No.8", OTL-6 kv No. 22
Branch of IDGC of Centre - "Tambovenergo" | 27 | 40129305 | 2010-05-17 | 6 | 5 | 466.1 | SS 110/6 kv "Tambovskaya No.8", OTL-6 kv No. 22
Branch of IDGC of Centre - "Tambovenergo" | 28 | 40129528 | 2010-05-26 | 6 | 5 | 466.1 | SS 110/6 kv "Tambovskaya No. 5", OTL-6 kv No. 19
Branch of IDGC of Centre - "Tambovenergo" | 29 | 40129578 | 2010-05-14 | 6 | 5 | 466.1 | SS 110/6 kv "Tambovskaya No. 5", OTL-6 kv No. 19
Branch of IDGC of Centre - "Tambovenergo" | 30 | 40130154 | 2010-05-18 | 6 | 5 | 466.1 | SS 110/6 kv "Tambovskaya No.8", OTL-6 kv No. 22
Branch of IDGC of Centre - "Tambovenergo" | 31 | 40130186 | 2010-05-19 | 6 | 5 | 466.1 | SS 110/35/10 kv "Promyshlennaya", OTL-10 kv No. 10
Branch of IDGC of Centre - "Tambovenergo" | 32 | 40130510 | 2010-05-21 | 6 | 5 | 466.1 | SS 110/35/10 kv "Promyshlennaya", OTL-10 kv No. 10
Branch of IDGC of Centre - "Tambovenergo" | 33 | 40130549 | 2010-05-18 | 6 | 5 | 466.1 | SS 110/6 kv "Tambovskaya No.8", OTL-6 kv No. 22
Branch of IDGC of Centre - "Tambovenergo" | 34 | 40130657 | 2010-05-21 | 6 | 5 | 466.1 | SS 110/35/10 kv "Komsomolskaya", OTL-10 kv No. 6
Branch of IDGC of Centre - "Tambovenergo" | 35 | 40130681 | 2010-05-18 | 6 | 10 | 466.1 | SS 110/35/10 kv "Komsomolskaya", OTL-10 kv No. 6
Branch of IDGC of Centre - "Tambovenergo" | 36 | 40131019 | 2010-05-19 | 6 | 5 | 466.1 | SS 35/10 kv "P. Prigorodnaya", OTL-10 kv No. 2
Branch of IDGC of Centre - "Tambovenergo" | 37 | 40131518 | 2010-05-21 | 6 | 5 | 466.1 | SS 110/6 "Tambovskaya No. 8", F 6 kv No. 22
Branch of IDGC of Centre - "Tambovenergo" | 38 | 40131520 | 2010-05-19 | 6 | 15 | 466.1 | SS 110/6 kv "Tambovskaya No. 5", OTL-6 kv No. 19
Branch of IDGC of Centre - "Tambovenergo" | 39 | 40131548 | 2010-05-18 | 6 | 5 | 466.1 | SS 110/35/10 kv "Komsomolskaya", OTL-10 kv No. 1
Branch of IDGC of Centre - "Tambovenergo" | 40 | 40131922 | 2010-05-27 | 6 | 15 | 466.1 | SS 35/10 kv "Tulinovskaya", OTL-10 kv No. 6
Branch of IDGC of Centre - "Tambovenergo" | 41 | 40131963 | 2010-05-28 | 6 | 15 | 466.1 | SS 110/10 "M. Talinskaya" OTL-10 kv No. 3
Branch of IDGC of Centre - "Tambovenergo" | 42 | 40131962 | 2010-05-18 | 6 | 5 | 466.1 | SS 110/10 "M. Talinskaya" OTL-10 kv No. 3
Branch of IDGC of Centre - "Tambovenergo" | 43 | 40132023 | 2010-05-19 | 6 | 5 | 466.1 | SS 110/6 kv "Tambovskaya No.8", OTL-6 kv No. 22
Branch of IDGC of Centre - "Tambovenergo" | 44 | 40132200 | 2010-05-21 | 6 | 15 | 466.1 | SS 110/10 kv "N. Lyadinskaya", OTL-10 kv No. 4
Branch of IDGC of Centre - "Tambovenergo" | 45 | 40132842 | 2010-05-26 | 6 | 15 | 466.1 | SS 35/10 "P. Prigorodnaya", OTL-10 kv No. 2
Branch of IDGC of Centre - "Tambovenergo" | 46 | 40133352 | 2010-05-31 | 6 | 10 | 466.1 | SS 110/35/10 "Promyshlennaya", OTL-10 kv No. 10
Branch of IDGC of Centre - "Tambovenergo" | 47 | 40137174 | 2010-05-31 | 6 | 10 | 466.1 | SS 110/6 "Tambovskaya No. 8", OTL-6 kv No. 22
Branch of IDGC of Centre - "Tambovenergo" | 48 | 40114232 | 2010-05-27 | 6 | 30 | 4821.9 | SS 35/10 kv "Aleksandrovskaya". , OTL-10 kv No.3
Branch of IDGC of Centre - "Tambovenergo" | 49 | 40119384 | 2010-05-05 | 6 | 15 | 466.1 | SS 35/10 kv "Chernyanskaya", OTL-10 kv No. 5
Branch of IDGC of Centre - "Tambovenergo" | 50 | 40121817 | 2010-05-05 | 24 | 1420 | Cost of technological connection service performed by IDGC under this Contract is fixed pursuant to individual project according to the resolution of the authorized body of the executive power in the field of the state tariff regulation, as of the date of the report formation is not fixed. | SS 110/10 kv "Spasskaya"
Branch of IDGC of Centre - "Tambovenergo" | 51 | 40121820 | 2010-05-05 | 24 | 957 | Cost of technological connection service performed by IDGC under this Contract is fixed pursuant to individual project according to the resolution of the authorized body of the executive power in the field of the state tariff regulation, as of the date of the report formation is not fixed. | SS 110/10 kv "Spasskaya"
Branch of IDGC of Centre - "Tambovenergo" | 52 | 40120630 | 2010-05-04 | 6 | 30 | 4821.9 | SS 35/10 kv "Yaroslavskaya", OTL-10 kv No. 6
Branch of IDGC of Centre - "Tambovenergo" | 53 | 40129423 | 2010-05-24 | 6 | 5 | 466.1 | SS 35/10 kv "Picherskaya",OTL-10 kv No. 3
Branch of IDGC of Centre - "Tambovenergo" | 54 | 40130105 | 2010-05-19 | 6 | 15 | 466.1 | SS 35/10 kv "Tatanovskaya",OTL-10 kv No. 3
Branch of IDGC of Centre - "Tambovenergo" | 55 | 40132373 | 2010-05-25 | 6 | 15 | 466.1 | SS 35/10 kv "P. Prigorodnaya",OTL-10 kv No. 4
Branch of IDGC of Centre - "Tambovenergo" | 56 | 40130794 | 2010-05-19 | 6 | 3 | 466.1 | SS 35/10 kv "P. Prigorodnaya",OTL-10 kv No. 2
Branch of IDGC of Centre - "Tambovenergo" | 57 | 40119474 | 2010-05-19 | 6 | 15 | 466.1 | SS 110/35/10 "Mordovskaya", OTL 10 kv No. 12, PTS 10/0,4 kv No. 3079, OTL-0,4 kv No. 2, support No. 1-05/1.
Branch of IDGC of Centre - "Tambovenergo" | 58 | 40123484 | 2010-05-05 | 6 | 5 | 466.1 | SS 35/10 "Olshanskaya", OTL 10 kv No. 7, TS 10/0,4 kv No. 5335, OTL-0,4 kv No. 1, support No. 1-00/19, OTL-0,4 kv No. 1.
Branch of IDGC of Centre - "Tambovenergo" | 59 | 40125435 | 2010-05-12 | 6 | 15 | 466.1 | SS 110/35/10 "Rzhaksinskaya", OTL 10 kv No. 8, TS 10/0,4 kv No. 6097 of 250 kvA capacity, OTL-0,4 kv No. 2, engineered support of OTL with insulated wires-0,4 kv.
Branch of IDGC of Centre - "Tambovenergo" | 60 | 40128637 | 2010-05-13 | 6 | 15 | 466.1 | SS 35/10 "V. Vershinskaya", OTL 10 kv No. 7, TS 10/0,4 kv No. 5469, OTL-0,4 kv No. 1, support No.1-00/19.
Branch of IDGC of Centre - "Tambovenergo" | 61 | 40130621 | 2010-05-28 | 6 | 10 | 466.1 | SS 110/35/10 "Zherdeevskaya", OTL 10 kv No. 19, TS 10/0,4 kv No. 1173, OTL-0,4 kv No. 2, support No. 2-01/2
Branch of IDGC of Centre - "Tambovenergo" | 62 | 40132426 | 2010-05-28 | 6 | 10 | 466.1 | SS 110/35/10 "Zherdeevskaya", OTL 10 kv No. 19, TS 10/0,4 kv No. 1173, OTL-0,4 kv No. 2, support No. 2-01/2
Branch of IDGC of Centre - "Tambovenergo" | 63 | 40122080 | 2010-05-04 | 6 | 27.75 | 4460.26 | SS 110/35/10 kv Inzhavinskaya, OTL-10 kv feeder No. 10, TS No. I-106 (250 kvA), OTL-0,4kv feeder No. 1, support No.3
Branch of IDGC of Centre - "Tambovenergo" | 64 | 40124762 | 2010-05-13 | 6 | 5 | 466.1 | SS 35/10 kv Nikitinskaya, OTL-10 kv feeder No. 7, TS No. I-183 (63 kvA), OTL-0,4kv feeder No. 1, support No. 17
Branch of IDGC of Centre - "Tambovenergo" | 65 | 40126039 | 2010-05-13 | 6 | 15 | 466.1 | SS 35/10 kv Maryinskaya, OTL-10 kv feeder No. 5, TS No. K-155 (100 kvA), OTL-0,4kv feeder No. 1, support No. 2
Branch of IDGC of Centre - "Tambovenergo" | 66 | 40126838 | 2010-05-17 | 6 | 10 | 466.1 | SS 110/35/10 kv Kirsanovskaya, OTL-10 kv feeder No. 11, TS No. K-003 (100 kvA), OTL-0,4kv feeder No. 2, support No. 16
Branch of IDGC of Centre - "Tambovenergo" | 67 | 40129743 | 2010-05-13 | 6 | 5 | 466.1 | SS 110/35/10 kv Inzhavinskaya, OTL-10 kv feeder No. 2, TS No. I-013 (250 kvA), OTL-0,4kv feeder No. 2, support No. 31
Branch of IDGC of Centre - "Tambovenergo" | 68 | 40130306 | 2010-05-17 | 6 | 15 | 466.1 | SS 110/35/10 kv Kirsanovskaya, OTL-10 kv feeder No. 11, TS No. I-014 (100 kvA), OTL-0,4kv feeder No. 3, support No. 12
Branch of IDGC of Centre - "Tambovenergo" | 69 | 40124132 | 2010-05-25 | 6 | 5 | 466.1 | SS 35/10 kv Sokolovskaya, OTL-10 kv feeder No. 6, TS No. К-333 (400 kvA), OTL-0,4 kv feeder No. 1, support No. 12
Branch of IDGC of Centre - "Tambovenergo" | 70 | 40133401 | 2010-05-28 | 6 | 5 | 466.1 | SS 110/35/10 kv Kirsanovskaya, OTL-10 kv feeder No. 11, TS No. К-001 (100 kvA), OTL-0,4kv feeder No. 3, support No. 12
Branch of IDGC of Centre - "Tambovenergo" | 71 | 40119519 | 2010-05-12 | 6 | 5 | 466.1017 | SS-110/35/10 Staroyuryevskaya
Branch of IDGC of Centre - "Tambovenergo" | 72 | 40121133 | 2010-05-13 | 6 | 14 | 466.1017 | SS 35/10 kv Kozmodemyanovskaya
Branch of IDGC of Centre - "Tambovenergo" | 73 | 40121733 | 2010-05-07 | 6 | 33 | 5304.0932 | SS-110/35/10 kv Khmelevskaya
Branch of IDGC of Centre - "Tambovenergo" | 74 | 40121943 | 2010-05-06 | 6 | 5 | 466.1017 | SS 110/35/10 kv Nikiforovskaya
Branch of IDGC of Centre - "Tambovenergo" | 75 | 40123537 | 2010-05-12 | 6 | 8 | 466.1017 | SS 110/35/10 kv Khobotovskaya
Branch of IDGC of Centre - "Tambovenergo" | 76 | 40123598 | 2010-05-21 | 6 | 5 | 466.1017 | SS 35/10 kv Raninskaya
Branch of IDGC of Centre - "Tambovenergo" | 77 | 40125165 | 2010-05-26 | 6 | 37 | 1531.4322 | SS 110/10 kv N. Arkhangelskaya
Branch of IDGC of Centre - "Tambovenergo" | 78 | 40125155 | 2010-05-25 | 6 | 5 | 466.1017 | SS 110/27,5/6/10 kv Pervomayskaya
Branch of IDGC of Centre - "Tambovenergo" | 79 | 40125490 | 2010-05-21 | 6 | 12 | 466.1017 | SS 35/10 kv Prigorodnaya
Branch of IDGC of Centre - "Tambovenergo" | 80 | 40125840 | 2010-05-19 | 6 | 5 | 466.1017 | SS-110/27,5/6/10 kv Pervomayskaya
Branch of IDGC of Centre - "Tambovenergo" | 81 | 40127398 | 2010-05-27 | 6 | 69.7 | 2884.8814 | SS-110/35/10 kv Khobotovskaya
Branch of IDGC of Centre - "Tambovenergo" | 82 | 40126007 | 2010-05-18 | 6 | 5 | 466.1017 | SS 110/35/10 kv Khmelevskaya
Branch of IDGC of Centre - "Tambovenergo" | 83 | 40126696 | 2010-05-20 | 6 | 10 | 466.1017 | SS 110/27,5/6/10 kv Pervomayskaya
Branch of IDGC of Centre - "Tambovenergo" | 84 | 40127533 | 2010-05-25 | 6 | 5 | 466.1017 | SS 110/35/10 kv Nikiforovskaya
Branch of IDGC of Centre - "Tambovenergo" | 85 | 40131837 | 2010-05-21 | 6 | 5 | 466.1017 | SS-35/10 kv Petrovskaya
Branch of IDGC of Centre - "Tambovenergo" | 86 | 40131943 | 2010-05-25 | 6 | 12 | 466.1017 | SS-35/10 kv Tarbeevskaya
Branch of IDGC of Centre - "Tambovenergo" | 87 | 40120153 | 2010-05-24 | 6 | 5 | 466.1 | SS 35/10 Degtyanskaya F1 PTS 73d
Branch of IDGC of Centre - "Tambovenergo" | 88 | 40124873 | 2010-05-24 | 6 | 5 | 466.1 | SS 35/10 Rudovskaya, F7
Branch of IDGC of Centre - "Tambovenergo" | 89 | 40126520 | 2010-05-12 | 6 | 7 | 466.1 | SS 35/10 Kulevatovskaya, f.1 PTS 1k/100
Branch of IDGC of Centre - "Tambovenergo" | 90 | 40128357 | 2010-05-12 | 6 | 14 | 466.1 | SS 35/10 Kulevatovskaya, f.6 PTS 10k/100
Branch of IDGC of Centre - "Tambovenergo" | 91 | 40131266 | 2010-05-18 | 6 | 15 | 466.1 | SS 35/10 Piterskaya, F2, PTS 51 g
Branch of IDGC of Centre - "Tambovenergo" | 92 | 40131194 | 2010-05-19 | 6 | 12 | 466.1 | SS 35/10 Morshanskaya, F17, PTS 24m
Branch of IDGC of Centre - "Tambovenergo" | 93 | 40131243 | 2010-05-18 | 6 | 5 | 466.1 | SS 35/10 Morshanskaya, F17, PTS 18m
Branch of IDGC of Centre - "Tambovenergo" | 94 | 40133232 | 2010-05-24 | 12 | 270 | 32130 | SS 110/35/10 Grazhdanovskaya, SS 35/10 Kurovshchinskaya
Branch of IDGC of Centre - "Tambovenergo" | 95 | 40133310 | 2010-05-25 | 6 | 7 | 466.1 | SS 35/10 Morshanskaya, F 13, PTS 8 m

## реестр исп.договоров
Item-by-item information on the performed contracts for TC for May 2010
Branch | No. | Number of the contract concluded | Amount under the contract in Rubles net of VAT | Maximum capacity, kW (including Existing in kW) | Number of TC act | Date of TC act dd/mm/yyyy | Item connection point (SS) under TC act
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Tambovenergo | 1 | 40028073 | 466.1 | 5 | 149 | 2010-05-14 | SS 110/35/10 kv Komsomolskaya
Tambovenergo | 2 | 40027739 | 466.1 | 5 | 140 | 2010-05-20 | SS 35/10 kv "Tatanovskaya"
Tambovenergo | 3 | 40027735 | 466.1 | 5 | 97 | 2010-05-17 | SS 35/10 kv "Seleznevskaya"
Tambovenergo | 4 | 40027723 | 466.1 | 15 | 123 | 2010-05-05 | SS 110/35/10 kv "Novolyadinskaya"
Tambovenergo | 5 | 40045828 | 466.1 | 15 | 80122066/124 | 2010-05-17 | SS 110/10 kv "M.Talinskaya" feeder 10 kv No. 1 TS 10/0,4 kv No. 2039 of 400 kvA capacity
Tambovenergo | 6 | 40082403 | 466.1 | 15 | 128 | 2010-05-14 | SS 110/35/10 kv Komsomolskaya
Tambovenergo | 7 | 40086539 | 466.1 | 5 | 161 | 2010-05-20 | SS 35/10 kv "P. Prigorodnaya"
Tambovenergo | 8 | 40088140 | 466.1 | 15 | 129 | 2010-05-14 | SS 35/10 kv "Gorelskaya"
Tambovenergo | 9 | 40092079 | 466.1 | 9 | 80131207/158 | 2010-05-14 | SS 110/35/10 kv "Promyshlennaya"
Tambovenergo | 10 | 40093704 | 466.1 | 6 | 162 | 2010-05-20 | SS 35/10 kv "Tulinovskaya"
Tambovenergo | 11 | 40094861 | 466.1 | 5 | 80134486/152 | 2010-05-25 | SS 110/6 kv "Tambovskaya No. 8", OTL-6 kv No. 22, PTS 6/0,4 kv No. 2075 of 160 kvA capacity
Tambovenergo | 12 | 40101529 | 466.1 | 5 | 130 | 2010-05-20 | SS 110/35/10 kv Komsomolskaya
Tambovenergo | 13 | 40102462 | 466.1 | 5 | 167 | 2010-05-14 | SS 35/10 kv "Seleznevskaya"
Tambovenergo | 14 | 40108149 | 466.1 | 6 | 80127733/126 | 2010-05-05 | SS 35/10 kv "Tulinovskaya"
Tambovenergo | 15 | 40110089 | 466.1 | 10 | 80132721/163 | 2010-05-25 | SS 110/6 kv "Tambovskaya No. 8"
Tambovenergo | 16 | 40111547 | 466.1 | 5 | 141 | 2010-05-20 | SS 35/10 kv "Gorelskaya"
Tambovenergo | 17 | 40114881 | 466.1 | 5 | 168 | 2010-05-14 | SS 110/35/10 kv "Promyshlennaya"
Tambovenergo | 18 | 40071266 | 466.1 | 3 | 46 | 2010-05-14 | SS 35/10 kv "Chernyanovskaya"
Tambovenergo | 19 | 40084737 | 466.1 | 5 | 67 | 2010-05-14 | SS 35/10 kv "Picherskaya'
Tambovenergo | 20 | 40039788 | 466.1 | 5 | 155 | 2010-05-13 | SS 35/10 Rybinskaya F1 PTS116а
Tambovenergo | 21 | 40039806 | 466.1 | 5 | 180 | 2010-05-13 | SS 35/10 Rybinskaya F1 PTS116а
Tambovenergo | 22 | 40039798 | 466.1 | 5 | 190 | 2010-05-13 | SS 35/10 Rybinskaya F1 PTS116а
Tambovenergo | 23 | 40039235 | 466.1 | 5 | 187 | 2010-05-13 | SS 35/10 Rybinskaya F1 PTS116а
Tambovenergo | 24 | 40039841 | 466.1 | 5 | 183 | 2010-05-13 | SS 35/10 Rybinskaya F1 PTS116а
Tambovenergo | 25 | 40039865 | 466.1 | 5 | 182 | 2010-05-13 | SS 35/10 Rybinskaya F1 PTS116а
Tambovenergo | 26 | 40039873 | 466.1 | 5 | 181 | 2010-05-13 | SS 35/10 Rybinskaya F1 PTS116а
Tambovenergo | 27 | 40039834 | 466.1 | 5 | 186 | 2010-05-13 | SS 35/10 Rybinskaya F1 PTS116а
Tambovenergo | 28 | 40039855 | 466.1 | 5 | 184 | 2010-05-13 | SS 35/10 Rybinskaya F1 PTS116а
Tambovenergo | 29 | 40039899 | 466.1 | 5 | 188 | 2010-05-13 | SS 35/10 Rybinskaya F1 PTS116а
Tambovenergo | 30 | 40039890 | 466.1 | 5 | 185 | 2010-05-13 | SS 35/10 Rybinskaya F1 PTS116а
Tambovenergo | 31 | 40040026 | 466.1 | 5 | 189 | 2010-05-13 | SS 35/10 Rybinskaya F1 PTS116а
Tambovenergo | 32 | 40053151 | 466.1 | 15 | 191 | 2010-05-11 | SS 35/10 Kulevatovskaya F4 PTS 65k
Tambovenergo | 33 | 40061066 | 466.1 | 15 | 226 | 2010-05-31 | SS 35/10 Morshanskaya F1 PTS 172m
Tambovenergo | 34 | 40081421 | 466.1 | 15 | 179 | 2010-05-31 | SS 35/10 "Piterskaya", f.5, PTS 37g/100
Tambovenergo | 35 | 40097898 | 466.1 | 5 | 176 | 2010-05-13 | SS 35/10 Podlesnaya, F2, PTS 93s
Tambovenergo | 36 | 40106065 | 466.1 | 7 | 153 | 2010-05-13 | SS 35/10 Morshanskaya, f.17 PTS 24m/160
Tambovenergo | 37 | 40116809 | 466.1 | 10 | 72 | 2010-05-13 | SS 35/10 Morshanskaya, f.14
Tambovenergo | 38 | 40121055 | 466.1 | 5 | 177 | 2010-05-13 | SS 35/10 Bondarskaya, f.4, PTS 093B
Tambovenergo | 39 | 40121073 | 466.1 | 5 | 178 | 2010-05-13 | SS 35/10 Bondarskaya, f.4, PTS 08B/100
Tambovenergo | 40 | 40031689 | 466.1017 | 5 | 76 | 2010-05-11 | SS-110/35/10 kv Staroyuryevskaya
Tambovenergo | 41 | 40044717 | 466.1017 | 5 | 131 | 2010-05-06 | SS-110/27,5/6/10 kv Pervomayskaya
Tambovenergo | 42 | 40044649 | 466.1017 | 15 | 62 | 2010-05-28 | SS 35/10 kv Glazkovskaya
Tambovenergo | 43 | 40076332 | 4760 | 80 | 87 | 2010-05-28 | SS-110/10 kv N.Arkhangelskaya
Tambovenergo | 44 | 40095642 | 466.1017 | 14 | 132 | 2010-05-06 | SS-110/27,5/6/10 kv Pervomayskaya
Tambovenergo | 45 | 40096212 | 466.1017 | 8 | 133 | 2010-05-06 | SS-110/27,5/6/10 kv Pervomayskaya
Tambovenergo | 46 | 40096865 | 466.1017 | 5 | 135 | 2010-05-06 | SS-110/27,5/6/10 kv Pervomayskaya
Tambovenergo | 47 | 40100749 | 466.1017 | 5 | 134 | 2010-05-06 | SS-110/27,5/6/10 kv Pervomayskaya
Tambovenergo | 48 | 40110208 | 466.1 | 10 | 154 | 2010-05-04 | SS 35/10 kv Umetskaya, OTL -10 kv feeder No. 2, TS No. U-155 (250 kvA), OTL-0,4 kv feeder No. 2 support No. 34
Tambovenergo | 49 | 40029857 | 466.1 | 5 | 156 | 2010-05-11 | SS 110/35/10 kv Kirsanovskaya, OTL-10 kv feeder No. 16, TS No. K-065( 100kvA) , OTL-0,4kv feeder No. 2, support No. 7
Tambovenergo | 50 | 40097843 | 466.1 | 8 | 170 | 2010-05-11 | SS 35/10 kv Gavrilovskaya, OTL-10 kv feeder No.7, TS No. G-038(100 kvA), OTL-0,4 kv feeder No. 1, support No. 16
Tambovenergo | 51 | 40072433 | 466.1 | 15 | 198 | 2010-05-19 | SS 110/35/10 kv Kirsanovskaya, OTL-10 kv feeder No. 16, TS No. K-065( 100kvA) , OTL-0,4kv feeder No. 1, support No. 46
Tambovenergo | 52 | 40081673 | 466.1 | 5 | 78 | 2010-05-19 | SS 110/35/10 kv Izhavinskaya, OTL-10 kv feeder No. 5, TS No. I-057 (250 kvA), OTL-0,4 kv feeder No. 3, existing OTL with insulated wires-0.4 kv laid along the wall of building from support No. 166
Tambovenergo | 53 | 40081678 | 466.1 | 5 | 77 | 2010-05-19 | SS 110/35/10 kv Izhavinskaya, OTL-10 kv feeder No. 5, TS No. I-057 (250 kvA), OTL-0,4 kv feeder No. 3, existing OTL with insulated wires-0.4 kv laid along the wall of building from support No. 166
Tambovenergo | 54 | 40081683 | 466.1 | 5 | 75 | 2010-05-19 | SS 110/35/10 kv Izhavinskaya, OTL-10 kv feeder No. 5, TS No. I-057 (250 kvA), OTL-0,4 kv feeder No. 3, existing OTL with insulated wires-0.4 kv laid along the wall of building from support No. 166
Tambovenergo | 55 | 40082036 | 466.1 | 5 | 80 | 2010-05-19 | SS 110/35/10 kv Izhavinskaya, OTL-10 kv feeder No. 5, TS No. I-057 (250 kvA), OTL-0,4 kv feeder No. 3, existing OTL with insulated wires-0.4 kv laid along the wall of building from support No. 166
Tambovenergo | 56 | 40082044 | 466.1 | 5 | 83 | 2010-05-19 | SS 110/35/10 kv Izhavinskaya, OTL-10 kv feeder No. 5, TS No. I-057 (250 kvA), OTL-0,4 kv feeder No. 3, existing OTL with insulated wires-0.4 kv laid along the wall of building from support No. 166
Tambovenergo | 57 | 40082048 | 466.1 | 5 | 76 | 2010-05-19 | SS 110/35/10 kv Izhavinskaya, OTL-10 kv feeder No. 5, TS No. I-057 (250 kvA), OTL-0,4 kv feeder No. 3, existing OTL with insulated wires-0.4 kv laid along the wall of building from support No. 166
Tambovenergo | 58 | 40082700 | 466.1 | 5 | 82 | 2010-05-19 | SS 110/35/10 kv Izhavinskaya, OTL-10 kv feeder No. 5, TS No. I-057 (250 kvA), OTL-0,4 kv feeder No. 3, existing OTL with insulated wires-0.4 kv laid along the wall of building from support No. 166
Tambovenergo | 59 | 40082760 | 466.1 | 5 | 84 | 2010-05-19 | SS 110/35/10 kv Izhavinskaya, OTL-10 kv feeder No. 5, TS No. I-057 (250 kvA), OTL-0,4 kv feeder No. 3, existing OTL with insulated wires-0.4 kv laid along the wall of building from support No. 166
Tambovenergo | 60 | 40083262 | 466.1 | 5 | 79 | 2010-05-19 | SS 110/35/10 kv Izhavinskaya, OTL-10 kv feeder No. 5, TS No. I-057 (250 kvA), OTL-0,4 kv feeder No. 3, existing OTL with insulated wires-0.4 kv laid along the wall of building from support No. 166
Tambovenergo | 61 | 40086720 | 466.1 | 10 | 85 | 2010-05-19 | SS 35/10 kv Annenskaya, OTL-10 kv feeder No. 5, TS No. G-217(160 kvA), OTL-0,4 kv feeder No. 1, support No. 11
Tambovenergo | 62 | 40087715 | 466.1 | 5 | 81 | 2010-05-19 | SS 110/35/10 kv Izhavinskaya, OTL-10 kv feeder No. 5, TS No. I-057 (250 kvA), OTL-0,4 kv feeder No. 3, existing OTL with insulated wires-0.4 kv laid along the wall of building from support No. 166
Tambovenergo | 63 | 40048816 | 466.1 | 15 | 211 | 2010-05-25 | SS 35/10 kv Sokolovskaya, OTL-10 kv feeder No. 3, TS No. К-312 (250kvA), OTL-0,4 kv feeder No. 3, deadend support of HVL-0.4 kv
Tambovenergo | 64 | 40109028 | 466.1 | 10 | 222 | 2010-05-28 | SS 35/10 kv Maryinskaya,OTL -10 kv feeder No. 1,TS No. K-117 (100 kvA), OTL-0,4 kv feeder No.1 support No. 6
Tambovenergo | 65 | 40030224 | 466.1 | 5 | 157 | 2010-05-20 | SS 110/35/10 kv Zherdevskaya, OTL-10 kv f. No. 5, PTS No. 1162/100 kvA, OTL 0,4 kv No. 2, support of OTL 0,4 kv No. 2-00/8.
Tambovenergo | 66 | 40031145 | 466.1 | 15 | 91 | 2010-05-28 | SS 35/10 kv "Kamenskaya", feeder 10 kv No. 1, support No. 1-07/13
Tambovenergo | 67 | 40043836 | 14875 | 250 | 68 | 2010-05-28 | SS 35/10 kv "Tr. Roslyayskaya", OTL 10 kv No. 5, support No. 5-05/6
Tambovenergo | 68 | 40050732 | 466.1 | 5 | 63 | 2010-05-20 | SS 110/35/10 kv "Muchkapskaya", OTL 10 kv No. 6, support No. 6-00/17
Tambovenergo | 69 | 40046502 | 466.1 | 5 | 74 | 2010-05-20 | SS 35/10 kv "Ivanovskaya", OTL-10 kv No. 1, TS 10/0,4 kv No. 3252 with capacity of 400 kvA, edadend support of engineered HVL-0,4 kv